# +

TOWN OF GOSHEN

Beach Maintenance

Best Management Practices

July 2, 2015

The Town of Goshen Inland Wetlands Commission gratefully acknowledges the work of Lenard Engineering, Inc., which was the basis of these guidelines.

TABLE OF CONTENTS

General Information	3

Sand Replenishment	3

Sand Specifications	3

Alternative to Sand Replenishment	4

Practices to Prevent Erosion	4

Routine Controls	4

Seasonal Controls	5

Other Controls	5

Dredging	5

Shoreline Stabilization	5

Figure RR-4 – Riprap for Channel and Shoreline Stabilization	7

General Information

This document is intended to serve as a general guide for the Town of Goshen and private owners of inland beaches.  The purpose is to provide these parties with guidelines for maintaining their beaches in a manner that will allow for the enjoyment and safety of the users and to protect the environment in a cost-effective manner.  Users of this document should determine if any environmental permits are required before engaging in the activities described.

Sand Replenishment

Replenish sand at a beach no more than once per year.  This activity should typically take place during the springtime.  The volume of sand shall not exceed the volume required to cover the existing beach area with an average of four inches of sand.  This equates to 1.2 cubic yards of sand for every 100 square feet of beach area.

Do not place sand below the normal waterline of the beach or outside of the existing beach limits.  No expansion of the beach is allowed during placement of sand.

Rake the sand to provide a smooth gradual transition from the uphill side to the edge of water.  Fill in any holes or eroded areas.  Raking may be accomplished by hand or with mechanized equipment.  When using mechanized equipment, a spill prevention kit must be maintained onsite during the raking and replenishing operations.  Delivery vehicles should be kept as far from the shoreline as practical.

Prior to replenishing sand on any beach area, the owner shall contact the Goshen Inland Wetlands Enforcement Officer for a site inspection.  The purpose of the inspection is to determine if any other actions need to be undertaken prior to placement of sand.  Other actions may include resolving ongoing erosion problems, revegetation, or general cleanup.

Sand Specifications

Sand shall meet the following specifications:

1.	Material shall be considered predominately sand according to the Unified Soils Classification System.

2.	Sand shall consist of clean fine aggregate, free of contamination, vegetation, masses of roots, or other deleterious matter.  Sand shall be substantially free of loam and other organic matter.  To minimize the opportunity for accidental transportation of contaminated soil, sand should not be procured from areas of known or suspected contamination, urban areas, or previously developed sites.

3.	Material shall meet the requirements of Fine Aggregate in accordance with the State of Connecticut Department of Transportation Standard Specifications for Roads, Bridges, and Incidental Construction, Form 816, as amended, Article M.03.01.

4.	Material shall be prepared as a “washed” product.  Gradation shall meet the following requirements:

| Sieve Size | 3/8” | No. 4 | No. 8 | No. 16 | No. 30 | No. 50 | No. 100 | No. 200 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| % Passing By Weight | 100 | 95-100 | 80-100 | 50-85 | 25-60 | 10-30 | 2-10 | <3 |

Alternative to Sand Replenishment

As an alternative to sand replenishment, the beach owner may replace the sand with stone pebbles.  Under this alternative, the sand shall be removed and up to eight inches of stone pebbles may be deposited across the existing beach area or portion of the beach area.  Do not place pebbles below the normal waterline of the beach or outside of the existing beach limits.  No expansion of the beach is allowed during placement of the stone pebbles.  Stone pebbles shall be 3/8” double washed native stone.

Rake the pebbles to provide a smooth gradual transition for the uphill side to the edge of water.  Fill in any holes or eroded areas.  Raking may be accomplished by hand or with mechanized equipment.  When using mechanized equipment, a spill prevention kit must be maintained onsite during the raking and installation operations.  Delivery vehicles should be kept as far from the shoreline as practical.

Prior to placing stone pebbles on any beach area, the owner shall contact the Goshen Inland Wetlands Enforcement Officer for a site inspection.  The purpose of the inspection is to determine if any other actions need to be undertaken prior to placement of material.  Other actions may include resolving ongoing erosion problems, revegetation, or general cleanup.

Practices to Prevent Erosion

Wherever practical, areas upstream of the beach area should be graded to divert runoff away from the sand beach area.  This work may require a permit from the Goshen Inland Wetlands Commission and such diversion shall be designed in a manner that does not encourage erosion in another area of the property or discharge sediment-laden runoff to the water body.  The diversion shall also be designed in a manner that does not improperly discharge runoff onto adjacent properties.

Maintain walking paths in a manner that prohibits rutting, trampling of vegetation, or erosion.  Maintain areas outside of the sand beach or walking paths with healthy native vegetation.  Discourage walking across these areas by fencing, dense vegetation, or other means.

Routine Controls

Rake the beach on a routine basis to maintain an even surface.  Raking has several positive benefits, including:

1.	Making the surface easier to walk on.

2.	Cleaning up trash and debris, especially dangerous objects such as metal or glass fragments.

3.	Exposing the sand to the sun and air, which may reduce bacteria contamination.

4.	Filling in depressions to eliminate standing water, which may also reduce bacteria contamination.

Remove large buildup of algae by raking the plants ashore and moving them to areas above the high waterline.  Do not push algae that washes ashore back into the water.

Seasonal Controls

Install a silt barrier such as silt fence at the toe of the beach, just above the waterline, at the end of the swimming season.  The silt barrier will reduce the potential for sand migration into the water.  The sand buildup against the barrier can be pulled back and re-spread on the beach prior to the next swimming season.

Other Controls

At the discretion of the beach owner, additional controls, including the following, may be implemented:

1.	Installation of a retractable fence across the edge of the waterline.  The fence can be deployed during non-swimming periods to discourage geese from wading ashore.

2.	Installation of a barrier of tall native plantings at the shoreline to discourage geese from wading ashore.  This practice can be applied outside of the sand beach area and is primarily intended for areas where a lawn extends directly to the shoreline.

3.	Installation of additional silt barriers perpendicular to the prevailing winds to trap windborne sand.

Dredging

Dredging is the operation of removing sand from below the normal waterline and placing it back on the beach area.  Dredging may require permits from the Goshen Inland Wetlands Commission, the Connecticut Department of Energy and Environmental Protection, and the US Army Corps of Engineers.  Beach owners should assume that local, state, and federal environmental permits are required for dredging unless confirmed otherwise in writing.

Dredging may take place only after all applicable permits are obtained.  Dredging shall be undertaken only during a drawdown of the water body and shall only extend to the edge of the water body at the time the work is performed.  Dredging may be performed with mechanized equipment.  A spill kit must be maintained onsite during the dredging operation.  Dredged material should be spread over the beach area in accordance with the Sand Replenishment section of this document.  A silt barrier should be placed at the toe of the beach area immediately after dredging to contain fine sediments that will wash out of the dredging spoils.  The fine sediments and any other deleterious materials that result from the dredging process should be removed from the site and properly disposed of.

Shoreline Stabilization

The Inland Wetlands Commission suggests that in planning a shoreline stabilization project the property owner consult the 2002 Connecticut Guidelines for Soil Erosion and Sediment Control (CT E&S Guidelines) as amended.  Page 5-5-11 of the Guidelines, Drawing RR-4 (see attached), is one way to handle shoreline stabilization, but each location should be reviewed and designed accordingly.  One of the most important aspects of that detail is that the riprap be properly toed in.  If it is not, the riprap could eventually roll or slide downhill.  Below is the link to the CT E&S Guidelines:

http://www.ct.gov/deep/lib/deep/water_inland/sesc/secs_chapter_1_5.pdf

While a lakeshore does not have the complications of a stream bank, it may not be appropriate to assume that one detail will work for all areas.  The U.S. Department of Agriculture, National Resource Conservation Service (NRCS) Engineering Field Handbook, Chapter 16, includes several alternate methods for shoreline stabilization.  Below is the link to the NRCS Handbook Chapter 16:

http://directives.sc.egov.usda.gov/OpenNonWebContent.aspx?content=17553.wba

The Commission recommends that the applicant refer to both the CT E&S Guidelines and NRCS Chapter 16 when designing a shoreline stabilization project.